## Empire State Building
| Annual Fuel Escalation | 0% |  | PLEASE NOTE: | 1. MOI IS THE MULTIPLE ON INVESTMENT USING ONLY 15 YEARS OF CASH FLOW
| Annual Construction Escalation | 0% |  |  | 2. IRR IS THE INTERNAL RATE OF RETURN USING ONLY 15 YEARS OF CASH FLOW
| Annual Inflation | 0% |  |  | 3. ROI IS BOTH FIRST & SECOND YEAR ROIS, AND IRR IF CASH FLOWS WERE INFINITE
| Real Discount Rate | 10%
| Green Rent Premium | 0%
| FROM EXHIBIT 5 |  |  |  | FULL COST ANALYSIS |  |  |  |  | iNCREMENTAL COST ANALYSIS | [5 empty] | INCREMENTAL COST ANALYSIS CASH FLOWS 15 YEARS | [17 empty] | FULL COST ANALYSIS CASH FLOWS 15 YEARS
| Energy Performance Measure | Incremental Cost | full cost | Annual Energy Savings (Once Fully Implemented) | PAYBACK YRS | MOI 15 YR | ROI YR 1, YR 2 | IRR 15 YR | NPV 15 YEARS | PAYBACK YRS | MOI 15 YR | ROI YR 1, YR 2 | IRR 15 YEARS | NPV 15 YEARS | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | NPV @ Disc | discount rate | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | NPV @ Disc | discount rate
1 | Building Windows | 4003768 | 4458768 | 368343 | 10.8782 | 1.3789 | 9.193% | 4.314% | -1341188.132 | 9.7681 | 1.5356 | 10.24% | 5.912% | -886188.132 | -4003768 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | -886188.132 | 10% | -4458768 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | 409880 | -1341188.132 | 10%
1 | T-operative | included above | included above | 41537 | included above | included above | included above | included above | included above | included above | included above | included above | included above | included above |  | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | #VALUE! | 10% |  | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 41537 | 315933.7245 | 10%
2 | 102nd Floor Windows | 56430 | 56430 | 2629 | 21.5755 | 0.69883 | 4.659% | -4.178% | -36433.617 | 21.4644 | 0.69883 | 4.659% | -4.178% | -36433.617 | -56430 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | -36433.617 | 10% | -56430 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | 2629 | -36433.617 | 10%
3 | Radiative Barrier | 2684053 | 2684053 | 190212 | 14.1108 | 1.063 | 7.087% | 0.7737% | -1237285.4049 | 14.1108 | 1.063 | 7.087% | 0.7737% | -1237285.4049 | -2684053 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | -1237285.4049 | 10% | -2684053 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | 190212 | -1237285.4049 | 10%
4 | Green Roof/Cool Roof | 570000 | 570000 | 4221 | 135.0391 | 0.11108 | 0.7405% | -19.89% | -537894.7384 | 135.0391 | 0.11108 | 0.7405% | -19.89% | -537894.7384 | -570000 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | -537894.7384 | 10% | -570000 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | 4221 | -537894.7384 | 10%
5 | Balance of DDC | 5603686 | 7603686 | 740905 | 8.859 | 1.6932 | 11.29% | 7.442% | -1075349.9293 | 6.5288 | 2.2975 | 15.32% | 12.8% | 924650.0707 | -5603686 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 924650.0707 | 10% | -7603686 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | 858305 | -1075349.9293 | 10%
6 | Tenant DCV | included above | included above | 117400 | included above | included above | included above | included above | included above | included above | included above | included above | included above | included above |  | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | #VALUE! | 10% |  | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 117400 | 892953.734 | 10%
7 | Additional DDC Controls | 2000000 | 2000000 | 30682 | 65.1848 | 0.23011 | 1.534% | -14.47% | -1766630.2686 | 65.1848 | 0.23011 | 1.534% | -14.47% | -1766630.2686 | -2000000 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | -1766630.2686 | 10% | -2000000 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | 30682 | -1766630.2686 | 10%
8 | LED Tower Lighting | 7000000 | 7000000 | 33575 | 208.4885 | 0.071946 | 0.4796% | -22.8% | -6744625.8806 | 208.4885 | 0.071946 | 0.4796% | -22.8% | -6744625.8806 | -7000000 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | -6744625.8806 | 10% | -7000000 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | 33575 | -6744625.8806 | 10%
9 | Retrofit Chiller Plant | -7288860 | 5111140 | 675714 | 7.5641 | 1.9831 | 13.22% | 10.1% | 28394.4075 | cost savings | cost savings | cost savings | cost savings | cost savings | 7288860 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 12428394.4075 | 10% | -5111140 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 675714 | 28394.4075 | 10%
9 | New Capacity and Riser | -10000000 | 0 | included above | included above | included above | included above | included above | included above | included above | included above | included above | included above | included above | 10000000 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 10% |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 10%
10 | Corridor Lighting | 1822232 | 3416685 | 19534 | 174.9096 | 0.085759 | 0.5717% | -21.65% | -3268107.8429 | 93.2851 | 0.1608 | 1.072% | -17.24% | -1673654.8429 | -1822232 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | -1673654.8429 | 10% | -3416685 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | 19534 | -3268107.8429 | 10%
11 | Restroom Lighting | 320000 | 600000 | 3939 | 152.3229 | 0.098475 | 0.6565% | -20.72% | -570039.6528 | 81.2389 | 0.18464 | 1.231% | -16.2% | -290039.6528 | -320000 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | -290039.6528 | 10% | -600000 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | 3939 | -570039.6528 | 10%
12 | VAV AHUs | 2350000 | 47200000 | 702507 | 67.1879 | 0.22325 | 1.488% | -14.71% | -41856675.9043 | 3.3452 | 4.4841 | 29.89% | 29.26% | 2993324.0957 | -2350000 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 2993324.0957 | 10% | -47200000 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | 702507 | -41856675.9043 | 10%
13 | Tenant Daylight/Lighting/Plugs | 8426625 | 24532606 | 940862 | 26.0746 | 0.57527 | 3.835% | -6.23% | -17376334.8235 | 8.9563 | 1.6748 | 11.17% | 7.267% | -1270353.8235 | -8426625 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | -1270353.8235 | 10% | -24532606 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | 940862 | -17376334.8235 | 10%
14 | Tenant Wall Insulation | 7740000 | 7740000 | 123503 | 62.6705 | 0.23935 | 1.596% | -14.16% | -6800626.3627 | 62.6705 | 0.23935 | 1.596% | -14.16% | -6800626.3627 | -7740000 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | -6800626.3627 | 10% | -7740000 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | 123503 | -6800626.3627 | 10%
15 | JCI Tenant Energy Management | 365734 | 365734 | 25000 | 0.94576 | 15.8603 | 105.7% | 105.7% | 2575605.3998 | 0.94576 | 15.8603 | 105.7% | 105.7% | 2575605.3998 | -365734 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 2575605.3998 | 10% | -365734 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 386709 | 2575605.3998 | 10%
15 | ESB Tenant Energy Management | included above | included above | 361709 | included above | included above | included above | included above | included above | included above | included above | included above | included above | included above |  | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | #VALUE! | 10% |  | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | 361709 | #VALUE! | 10%
16 | Power Generation | 7098952 | 14969992 | 320000 | 46.7812 | 0.32064 | 2.138% | -11.71% | -12536046.558 | 22.1842 | 0.67616 | 4.508% | -4.535% | -4665006.558 | -7098952 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | -4665006.558 | 10% | -14969992 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | 320000 | -12536046.558 | 10%
| Grand Total | 32752620 | 128309094 | 4702272 | 27.2866 | 0.54972 | 3.665% | -6.691% | -92543239.3077 | 6.9653 | 2.1535 | 14.36% | 11.58% | 3013234.6923 | -32752620 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 3013234.6923 | 10% | -128309094 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | 4702272 | -92543239.3077 | 10%

## Li Fung
Annual Fuel Escalation | 0%
Annual Construction Escalation | NA
Annual Inflation | 0%
Real Discount Rate | 0.1
Years of Lease | 15
[7 empty] | Annual Cash Flow | [16 empty] | Present Value of Cash Flow
Energy Performance Measure | Incremental Cost | Annual Energy Savings | NPV | IRR | Year 1 ROI | NPV (Excel calc) | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | total | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | total | @NPV Calc
Daylight Harvesting Controls | 41850 | 5359 | -1089.0199 | 9.542% | 12.81% | -1089.0199 | -41850 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 5359 | 80385 | -41850 | 4871.8182 | 4428.9256 | 4026.296 | 3660.2691 | 3327.5174 | 3025.0158 | 2750.0144 | 2500.0131 | 2272.7391 | 2066.1265 | 1878.2968 | 1707.5426 | 1552.3114 | 1411.1922 | 1282.902 | -1089.0199 | -1089.0199
High Efficiency Lighitng | 30000 | 9646 | 43368.2429 | 31.63% | 32.15% | 43368.2429 | -30000 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 9646 | 144690 | -30000 | 8769.0909 | 7971.9008 | 7247.1826 | 6588.3478 | 5989.4071 | 5444.9155 | 4949.9232 | 4499.9302 | 4090.8456 | 3718.9506 | 3380.8642 | 3073.5129 | 2794.1026 | 2540.0933 | 2309.1757 | 43368.2429 | 43368.2429
Right Sized HVAC Units | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Control Ventilation (CO2 Sensors) | 47520 | 3659 | -19689.3551 | 1.858% | 7.7% | -19689.3551 | -47520 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 3659 | 54885 | -47520 | 3326.3636 | 3023.9669 | 2749.0609 | 2499.1462 | 2271.9511 | 2065.4101 | 1877.6456 | 1706.9505 | 1551.7732 | 1410.7029 | 1282.4572 | 1165.8702 | 1059.882 | 963.5291 | 875.9355 | -19689.3551 | -19689.3551
Plug Load Management | 45000 | 17946 | 91498.7028 | 39.61% | 39.88% | 91498.7028 | -45000 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 17946 | 269190 | -45000 | 16314.5455 | 14831.405 | 13483.0954 | 12257.3595 | 11143.0541 | 10130.0491 | 9209.1356 | 8371.9414 | 7610.8559 | 6918.9599 | 6289.9635 | 5718.1487 | 5198.317 | 4725.7427 | 4296.1297 | 91498.7028 | 91498.7028
Combined EPM Package (with Incentives and energy modeling costs) | 134030 | 37766 | 153221.1986 | 27.43% | 28.18% | 153221.1986 | -134030 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 37766 | 566490 | -134030 | 34332.7273 | 31211.5702 | 28374.1548 | 25794.6862 | 23449.7147 | 21317.9224 | 19379.9295 | 17618.1177 | 16016.4707 | 14560.4279 | 13236.7526 | 12033.4115 | 10939.465 | 9944.9682 | 9040.8801 | 153221.1986 | 153221.1986